Submission to the

Australian Competition and Consumer Commission

regarding

i) the NECA/NEMMCO application for authorisation of the

National Electricity Code, and

ii) the NECA draft "application" for acceptance of an industry access code.

from Michael Gunter

"Some men see things as they are and say Why,

I dream things that never were and say Why Not?"

Robert F Kennedy

"Oh, don't be so sentimental, Mother: people explode every day"

John Cleese, Monty Python sketch

Contents

1. Electricity 101: "Twinkle, twinkle little star, power equals I-squared-R"

2. The Application: Form and content.

3. Network access experience: the perspective of a small renewable Generator

4. Industry-speak, or English?: Distribution Loss Factors (example).

5. The Public Interest: Is "Good electricity industry practice" compatible with commercial imperatives? example: voltage regulation for franchise customers.

1. Electricity 101. Please forgive the nursery rhyme, it was something my father taught me. Power does indeed equal I-squared-R (current squared, times resistance), though the more practical equations relevant to this submission are

volts2

power (watts) = ----------------

resistance (ohms)

(NB: power is proportional to voltage-squared, this is important later), and the simplest of the relationships:

Power(watts) = current(amps) x voltage(volts)

The Victorian electricity system can be represented as a very simple "equivalent" circuit:

Any generator is basically a magnet spinning inside a coil of wire, just like a bicycle dynamo.The fact that the industry can deliver six million kilowatts of electrical energy all around the state into combined loads with an effective resistance of one hundred-thousandth of an ohm is indeed an amazing feat of electrical engineering. And not a superconductor in sight! It is all made possible by the use of alternating current and transformers to transport the electrical energy at high voltage, but at a manageable current level. It is the real-time changes in the resistance of the combined loads which determine the system demand at any instant in time. Thus, ultimately the industry is controlled by the power switches of all the customers throughout the system. All the generators and "control" systems are designed to react and respond to the changing customer demands in real-time.

In perspective: The average Victorian electricity output of 4,700,000 kilowatts requires three times that much combustion energy from brown coal in order to produce it. This is the heat energy produced by exploding 2,500 tonnes of TNT every hour, or putting it another way, four Hiroshima bombs every day. Among other by-products, sixty million tonnes of carbon dioxide are produced every year in the process.

Rapid technological change already gives consumers with access to capital the choice of being electrically self-sufficient and helping the environment. As Victorian network connection charges escalate, the possibility of cost-effective renewable power migrating from rural back-blocks to the suburbs in the next decade is very real.

Traditional industry participants (and the new industry bodies representing them) also have a choice, to respond to these new technological, social and market forces by joining in, or by trying to resist them: the National Electricity Code as presented to the ACCC would appear on balance to take the latter position. Salvation for nearly-new coal plant in the Latrobe Valley over its projected lifetime may only come in the form of a rapid development of an electric vehicle industry, the only application that readily comes to mind where there is at least the potential to improve the greenhouse situation by displacing another fossil fuel.

2. The Application:

i) Things left unsaid:   Forms A and B each contain the following direction:

4.	Furnish with the application particulars of the contract, arrangement or understanding in respect of which the authorization is sought.  Those particulars shall be furnished -

(a)	in so far as the particulars or any of them have been reduced to writing - by lodging a true copy of the writing; and

(b)	in so far as the particulars or any of them have not been reduced to writing - by lodging a memorandum containing a full and correct statement of the particulars that have not been reduced to writing.

No such memorandum as required by 4(b) appears to have been lodged. It could for example contain:

a) particulars concerning the services to be provided by NEMMCO, such as the granting of, or refusal to grant, Code Participant status e.g. for small generators. The fact that Participants will pay fees is a clear indication that a valuable service is indeed being provided: where are the undertakings from NECA and NEMMCO under the existing Section 44ZZA of the TPA that access to this most vital service will be fairly available to all relevant applicants? It is my contention that NECA and NEMMCO are participants in the industry, in fact very special and key participants, and yet the whole Code seems to seek to place them above the (National Electricity) law.

b) The whole wording of the application in Forms A, B and E seems to be blinkered, only focussing on the contracts, arrangements, and understandings between the existing (as yet anonymous!) members of the "club".

Consider for a moment the whole electricity industry "club" as being analogous to one corporation making an undertaking under the existing Section 44ZZA of the TPA: then surely NECA and/or NEMMCO should be prepared as the peak industry bodies to "back" the access provisions of the National Electricity Code to the extent of also making a formal undertaking, in a re-worded Section 44ZZAA, to police the undertakings of the Code Participants (who will apparently still be making their individual undertakings under Section 44ZZA). At the moment, the Code-Chapter 1 contains a vague "undertaking" of sorts in the form of Code Objective 1.4 (b)(4)

ii) Third party contracts:By ignoring the existing contracts with all third parties to the industry "club", the application, and draft access code "application" appear to have effectively side-stepped the problem of having a random sample of these contracts scrutinised by the ACCC. Some of the most important contracts, arrangements and understandings not being spelled out in the application are the myriad contracts already in existence with those excluded from the "club", i.e. franchise customers and non-participant generators. It is those contracts which the ACCC should be scrutinising for evidence of uncompetitive behaviour. Take for example the Victorian Supply and Sale Code it clearly contains uncompetitive clauses, and sets standards (derived from Jurisdictional regulations) which are most definitely not in the public interest.

There is also the serious matter of existing electricity industry participants (acting alone) refusing to enter into contracts with non-participants who seek to have formal commercial relationships with them: this scenario does not appear to be covered by the TPA.

iii) Aggrieved access seeker does not have recourse to TPA Sect 44G: The Application Chapters2-4 document states (4.1 Introduction) that:

The "National Competition Policy Reform Act 1995" (*not its correct title, it is the "Competition Policy Reform Act 1995") amended the Act to introduce a legislated approach to third party access to these services provided in connection with these nationally significant facilities. There are a number of avenues under the Act whereby access to nationally significant infrastructure services can be granted. Service providers can provide access undertakings to the ACCC, or can seek to have an access arrangement determined to be an effective state-based access arrangement.  Where neither of these approaches is adopted, an aggrieved access seeker may request that the service be "declared" and an access arrangement be developed by the ACCC under Part IIIA of the Act.

However, according to TPA-Section 44G (1), "The Council cannot recommend the declaration of a service that is the subject of an access undertaking in operation under section 44ZZA." It seems that Section 44G(1) would also apply to section 44ZZAA (if passed). It would also be interesting to have some indication from the applicants as to whether, in their view, some or any Distribution Company Code Participants will be seeking to bypass the ACCC by giving access undertakings to Jurisdictional Regulators. This would appear to be a "legitimate" option canvassed in the extract quoted above.

3. The Breamlea wind generator network connection experience:

Below is the text of a fax that was recently sent to the Victorian Power Exchange, the Office of the Regulator-General, and Powercor Australia. Copies (for their information only) were also sent to CitiPOWER Pty and the ACCC. The three addressees have chosen not to respond as of 19th December. This is only the latest attempt in an ongoing saga of unanswered correspondence, although at times it has been possible to have telephone conversations with representatives of the three bodies concerned. These phone conversations have never been followed up with "hard copy" responses.

After over two years of this sort of treatment, firstly as the Alternative Technology Association's representative, and for the last 12 months as the owner of the generator, one begins to feel like a lone voice in the wilderness.

21 Wolseley Parade

Kensington Vic 3031

9th December 1996

Fax Communication:

From: Michael Gunter, owner of the Breamlea wind generator

To:      Office of the Regulator-General, VPX, Powercor Australia

Re: Status of the Breamlea Wind Generator (BWG), & energy traded from it

Background: BWG was sold by Generation Victoria on 30 September 1994 to the Alternative Technology Association (ATA). The ATA had a prior exchange of letters with the former MEU, Brunswick Electricity Supply, to the effect that BES would buy all the sent out energy from BWG. Subsequently BES was taken over by CitiPOWER Ltd (later to become CitiPOWER Pty.), and on 1 December 1995 the BWG was sold to me. However, the ATA has a buyback option in the contract of sale.

Current situation: CitiPOWER Pty and myself both wish to honour the previous contract: energy from BWG is currently the major input to CitiPOWER's EcoPower initiative. CitiPOWER  has been regularly paying for BWG energy since 8 December 1994.  The ORG has previously advised me that I as a GenCo am covered by the general exemption from the requirement to obtain a Generation Licence under Section 160 of the EIA. Thus it appears that the BWG's connection to the grid has been and remains legal. Rated at only 60 kW, with an average power output of only 12 kW, the BWG clearly falls outside the definition of an Embedded Unit, although it is an embedded generator. VicPool rules indicate that BWG is not required to sell its sent-out energy through VicPool (Pool Rules, clause 50.1 (a)) and is specifically excluded from Participant status (50.1 (c)).

Repeated representations from both myself and CitiPOWER to Powercor Australia have so far not brought any satisfactory conclusion to the two main issues of a network connection agreement and cross-border energy trading.

Future status under National Electricity Law/ National Electricity Code, and applicable regulatory instruments: Discussion today with Mr David Strong from VPX leads me to believe that, since I have "signed over" all BWG sent out energy to CitiPOWER, CitiPOWER becomes the entity (Code Participant) who on-sells that energy into Powercor's distribution system. CitiPOWER could conceivably choose to become a Market Generator at that connection point, although metering costs and meter reading fees would seem to make this inadvisable, unless it were the only way to force Powercor to pay for that energy by trading it through the National Market. (There would be very little change left over, but perhaps the principle is important!)

It would seem much more sensible for CitiPOWER at Breamlea to claim the status of Non-Market Generator (see National Electricity Code clause 2.2.5 (a)) and negotiate with Powercor a fair and reasonable price for the energy being traded. Analysis of half-hourly BWG energy export data in 1995 indicates that (system demand) volume-weighted SMP is very close to Breamlea-export-volume-weighted SMP, and consistently more than time-weighted SMP when averaged over long time intervals e.g. 12 months (details available on request).

The only unresolved questions would then be whether CitiPOWER or myself would be liable for the network connection charge, and whether Powercor persists with its previous assertions that energy fed into the distal end of a long feeder is costing Powercor 1.2 cents per kWh. My view is that the depreciation and maintenance costs of the 9-year-old 100 kVA pole transformer would be almost completely offset by the savings gained to the network accruing from reduced network losses in the 10 km of 22 kV feeder between the Drysdale substation and Barwon Water's sewage treatment works, a continuous large load adjacent to the BWG.

Questions for ORG/VPX:

1. Is there any possibility that the existing arrangement between BWG and CitiPOWER would be invalid or illegal under existing VPX rules or proposed National Electricity Law/Code?

2. Will ORG and/or VPX use any powers of persuasion or threat of sanctions  to induce Powercor to enter into meaningful negotiations in good faith to resolve outstanding issues as outlined above?

Authorisation of National Electricity Code process/ acceptance of Code Participant undertakings under Section 44ZZA of the Trade Practices Act 1974:

Submissions to the ACCC have to be in by 20th December 1996. The ACCC had indicated its interest in looking at the BWG as a test case of market access for renewable generators. The wording of Schedule  6.3.3(iii) and the fact that Distribution Companies are joining the Cogeneration Association  in large numbers makes the whole issue of fair access for non-participant non-market embedded generation a hot topic for ACCC consideration. Responses to this communication will determine the position I take in my submission to the ACCC. I ask that you reply by Monday 16th November: apologies for the limited time.

Yours sincerely,

(signed, Michael Gunter)

cc:       Alan Tacey, CitiPOWER Pty

Joe Dimasi, ACCC

(end of fax) **************************************************************************

Discussion (continued):

Admittedly the industry probably has a lot of much bigger issues on its plate. However, this degree of neglect of a potentially significant new sector of the industry could signify a disturbing scenario: the ORG, having been lobbied by the current VPX Code participants, is actively seeking to suppress new players in the generation market. Existing Latrobe Valley generators need new embedded generation like a hole in the head. On the other hand, existing DistCos seem rather keen to corner the cogeneration market in their franchise area: they are joining the Cogeneration Association in a big way, and as I mentioned in the above fax, there is a particularly pernicious clause 3(iii) in Schedule 6.3 of the Code, which will allow the DistCos to cream all the network augmentation-deferral benefits of cogeneration, while pretending that there are no such benefits. This one clause in Schedule 6.3 is, in my opinion sufficient grounds for the ACCC to reject outright the whole Code, as it is indicative of an absolute lack of good faith by at least some of the powerful industry players who have had such a "heavy-handed" approach to the drafting of the Code.

Frankly, there are other clauses in Schedule 6.3 which make absolutely no sense to me whatsoever, but I strongly suggest that the ACCC closely scrutinise this Schedule, and obtain full and frank disclosure from the DistCos as to who drafted it, and what each particular clause will mean in practice for budding non-participant generators.

4. Industry-speak or English?: The "Distribution Loss Factor" example.

On the following pages is some correspondence I recently had with the industry whizz-kids about the definition of Distribution Loss Factors (DLFs). It highlights the near -impossible task faced by outsiders trying to get a grip on the technical language, in which the meaning of an ordinary word from the English language takes on the opposite of its meaning to the lay person. The industry insiders seem to put on the pretence that they don't realise they are doing it, when it may well be a conscious ploy to maintain the upper hand in the scrutiny of technical issues in the Code:

21 Wolseley Parade

Kensington Vic 3031

14 November 1996

Harry Koller/ Terry Grimwade

NGMC

Level 25 367 Collins Street Melbourne

Fax@ (03)9221 6161

Dear Sirs,

re: National Electricity Code 2.0

Chapter 3: calculation of DLF

Thank you for the opportunity to attend today's seminar.

Further to the discussion there about distribution loss factors, Schedule 3.2 contains the theoretical formulae on which the DLF is based. Communication from Mr Don Vigilante of CitiPOWER Pty. (allowing me to sight a Victorian document "Review of Distribution Loss Factors") shows that in practice, DLFs are calculated by summing the loss factors in each category of the distribution chain for each contestable customer.

DLF = Calculated annual losses in the category..........................

Annual sales in the category + annual sales downstream

For example 100 GWh losses out of total sales of 5000 GWh represents a DLF(Vic) of 0.02  or 2%

This raises two points:

•	It cannot be directly applied to the formula in 3.17.4    AGE= ME x DLF unless DLF(NGMC) is defined as 1+DLF(Vic)

•	DLF(Vic) overstates the true network losses, which in the example above are only 100/5100 or 1.961%. This is a very small difference, but  in dealing with big losses in long lines, a significant misperception of the line efficiency will be created:

Imagine a remote country customer who buys 750 GWh on a network that incurs 250 GWh in losses to deliver that energy (its only an example!) The DLF(Vic) in this situation is 250/750  = 0.333  or 33.3%. In fact the electrical loss in this network is not 33.3%, but only 25% i.e.  250/(750 + 250)

The term "loss" in the expression DLF(Vic) as presently defined is therefore misleading. A more appropriate name would be "Distribution Top-Up Factor". However, to be practical, it would be simpler to retain the present name, reflecting current usage within the industry, provided that DLF is redefined to show how it relates to actual percentage network losses:

My suggestion to the NGMC (and VPX if applicable) is thus to define DLF as

DLF = ______100_______________

100 - (network loss percentage)

(which is what I said in the seminar)

Applied to my first example, this would become 100/(100-1.961), or 1.02 (to five decimal places accuracy). The DLF variable thus defined can be directly applied to the formula in 3.17.4  (viz. AGE = ME x DLF).

Yours sincerely,

(signed)

Michael Gunter

**********************************************************************************************************

Transcript of Mr Grimwade's faxed response: (VPX Letterhead) date 15 November 1996

Mr Michael Gunter

21 Wolseley Parade

Kensington

VICTORIA       3031

Dear Mr Gunter,

re. Calculation of Distribution Loss Factors

Thank you for your fax of 14 November 1966 with regard to the calculation of distribution loss factors (DLFs).

Please find attached a full copy of the document you referred to in that fax, "Review of Distribution Loss Factors 1995/96”.

I accept your point that the formula in Appendix A3.7 should in fact read:

DLF = 1 + (Calculated annual losses in the category)/(annual sales in category + Annual sales downstream of category)

However I draw your attention to Tables 1 and 2 of that document which set out the DLFs currently in use in VicPool. You will see that these loss factors are all in a form that could be directly applied to the formula in clause 3.17.4 of the National Electricity Code, i.e. AGE = ME x DLF.

Further, your suggestion that the use of this calculation of the DLF overstates the true network losses is incorrect, stemming perhaps from a misconception of the way in which it is applied.

The DLF is used to convert metered energy at a participant's connection point on the distribution network to an equivalent energy value (taking account of the losses incurred in the distribution network) at a transmission network connection point.

To illustrate this using your own example:

A remote country customer buys 750 GWh on a distribution network that incurs 25o GWh in losses. In this case, the total energy required to be supplied from the transmission network is 750 + 250 = 1000 GWh, this being the customer's "Adjusted Gross Energy" - see diagram.....

The DLF for this customer, if considered in isolation, would be correctly calculated as 1 + (250/750) = 1.3333

Applying the formula, AGE = ME x DLF, gives the result :

AGE = 750 x 1.3333 = 1000 GWh

Under the National Electricity Code, the customer would then be required to pay for its AGE, i.e. 1000 GWh, at a price equal to the regional reference price multiplied by the intra-regional loss factor at the transmission connection point.

I hope the above assists in clarifying the situation for you and addresses your concerns.

Yours faithfully (signed), Terry Grimwade, Manager, National Market Interfaces

**********************************************************************************************************

21 Wolseley Parade

Kensington Vic 3031

7th December 1996

Mr Terry Grimwade,

Manager, National Market Interfaces

VPX, @fax (03)96794058

Dear Mr Grimwade,

re: Distribution Loss Factors

Thank you for your faxed response to my earlier correspondence. Your explanation concurs with my prior understanding of the mathematics of DLF calculations. The information about regional reference price and intra-regional loss factors to be applied to AGE is however yet something new to be absorbed!

My main concern, perhaps only inferred in my first letter, is that industry terminology and common industry usage of standard English language terms, such as "loss" should reflect their commonly accepted meanings in the wider community. This is particularly relevant in view of the daunting task now facing the ACCC, a group with probably few electrical engineers among their ranks. There is also a need to make the language in the Code as accessible as possible to the general public.

Terms and definitions put into the Code by industry insiders may inadvertently reflect years of the industry's everyday usage, and be fully understood by all those "in the know", but leave the lay person confused or misled. Notwithstanding your explanation, I still believe the Distribution Loss Factor is a case in point.

If I were a Distribution Network Service provider, I may inadvertently mislead contestable customers by quoting the "raw" DLF figure for their location, giving the impression that the network loss at their location was x-percent, when in fact the losses may be considerably less than x-percent. (as per my admittedly extreme example). From discussions with Victorian industry participants, it is clear that the usual verbal form of expression of DLF is in the form of "the DLF on this part of the network is 7.05%" (for a real DLF of 1.0705). In fact the network loss percentage in this case is only 6.586 percent. This could be enough to persuade the customer to continue to buy power from his/her local distributor, and is therefore potentially an anti-competitive distortion in the market. I reiterate the view that either the name be changed to Distribution Top-up Factor, or the formula be changed to show the relationship of DLF to true network losses:

DLF= 100/(100-network percentage loss)

This very small issue will be only one of a number to be raised in my submission to the ACCC.

Yours sincerely,

(signed)   MIchael Gunter

***********************************************************************************************************

5. Public interest and good electricity industry practice.

Public interest #1: the industry view

Application Chapter 8 (8.2.2 (a)) seeks to define public interest in the narrowest of commercial terms, and quotes from Competition Policy documents in seeking to justify this position:

"The Industry Commission’s paper entitled Implementing the National Competition Policy: Access and Price Regulation (published in November 1995) suggested that the key consideration to be taken into account when assessing the public interest should be economic efficiency."

This would be fine if there was an acknowledement of the "wholistic" economic efficiency of Australian society, but unfortunately Chapter 8 goes on to claim that the only relevant economic efficiency is that of the Code Participants themselves.

There seems to be some attempt to blur the distinction between the National Electricity Code, and the National Electricity Market. The applicants seem to be saying that the NEM is almost exclusively about the wholesale market already operating in various Jurisdictions, and that ipso facto the Code is almost irrelevant to the retail electricity market:  Application Clause 5.3.2 (b) claims that the Code is really nothing to do with the retail electricity market.

This sweeping assertion seems to ignore the primacy of Code Chapter 9 in allowing the jurisdictions to handle certain regulatory functions, and to ignore the fact that the form for Code Participants' access undertakings, Schedule 5.8 includes a clause (amended by addendum 1 to the Code) which now reads as follows:

5. Terms and conditions of connection and access The Network Service Provider undertakes to maintain and make available its network services for access:

(a) by Code Participants in accordance with the requirements of the Code; and

(b) by all persons in accordance with :

(i) applicable regulatory instruments; and

(ii) good electricity industry practice and applicable Australian Standards.

Since the access code is part of the National Electricity Code, it thus appears that Participant undertakings to the ACCC will commit them under section 44ZZA of the Trade Practices Act to regard retail customers and non-participant generators as having legitimate rights under the access undertaking, even if the Application documentation is loath to regard them as a legitimate part of the National Electricity Market. It is not clear at this stage whether derogation will effectively emasculate the access undertakings in some Jurisdictions. One would have to be concerned, when one considers that Chapter 9 overrules Chapter 5 (and presumably therefore Schedule 5.8) How much then is an undertaking, being essentially a part of Chapter 5 really worth?

Public interest #2: the real world

Application-Chapter 5.5.8 (e) states:

(e)	Requirements of the Code imposed on participants

The Code incorporates the electricity supply industry’s collective experience and wisdom on the matter of appropriate standards including network connection requirements that should be applied in the overall public interest insofar as safety and security of supply are concerned.  The Code change process will allow adaptation to changes in standards that might be suggested by further experience and technological developments over time.

The technical requirements of connection equipment design controls, and testing procedures, in the Code have been included so that customers, generators and network owners may reasonably rely on the efficacy of the Code to deliver safety and security of electricity supply.  A similar case may be made for metering.

This assertion that the industry should be the sole arbiter of technical standards does not stand up under close scrutiny. The definition in Code Chapter 10 of good electricity industry practice (yet another late amendment in Addendum 1) basically says that facilities can be operated in any way that an "operator" (undefined) believes would be acceptable to a "significant proportion" (lets say one in ten!) of operators of similar facilities. "Operators", although undefined, would appear to mean the skilled electrical engineer employees of the newly privatised companies. These are the very group who have watched in recent years the departure of many equally skilled and capable colleagues from the industry. They stayed through ambition, and no doubt great technical skill and competence, but are now part of a corporate culture whose primary focus is, or very soon will be, the dividends available to shareholders. Herein may lie a conflict of interest:

Voltage regulation for residential franchise customers: In the past week I have been monitoring a domestic single phase "240 volt" supply in suburban Melbourne. The key data is set out in the chart below. The test circuitry was less than ideal, but I present the findings in the public interest, believing them to be accurate to about 1%. A moving coil voltmeter, which had been calibrated the week before against a digital RMS voltmeter at Melbourne University was in turn used to calibrate the DC voltage output of a bridge rectifier and voltage divider circuit. Such a circuit will be non-linear, but the errors here were minimised by driving the bridge rectifier from a transformer with a nominal 50 volt AC output, and using a high stability smoothing capacitor on the DC side. A data logger was used to sample the voltage every second, and calculate an average every half-hour. The maximum and minimum voltage for each half hour interval was also recorded (but not charted).

This time of year admittedly has mild weather, and the system is obviously only lightly loaded. The local LV network does not have long runs or lots of "shoestring" copper wiring dating from the early part of this century (a possible reason for needing a supply voltage on the high side of normal). However, none ofl the LV circuits in the vicinity have been "paralled-up", rather all the interconnecting links have been left open, so that each customer is effectively supplied by only one transformer. This is referred to as a "radial" supply in the industry. Radial supplies are not as robust as parallel supplies when a heavy load occurs in one street or local area, so this may be one possible reason (not necessarily a valid one!) for the high voltage setting in my suburb. If distributors are generally supplying residential areas with voltages which average over 250 volts for most of the year, several significant public interest issues arise:

•	resistive loads can be expected to overheat, and have a shortened lifespan, e.g. lightglobes. This would also apply to many appliances with an apparent "thermostat" control: stove elements run from a time-cycle switch, not a true thermostat; hot water service elements typically operate for several hours each night, and the thermostat of course monitors the water temperature, not the temperature of the heating element.

•	Many inductive loads, such as transformers, fluorescent light ballasts, and the stator windings in induction motors have the potential to respond badly to overvoltage: as the inductor (usually a heavy lump of laminated iron) approaches electromagnetic saturation, the effective resistance of the windings reduces and severe overheating can ensue.

•	A cursory inspection of the Metropolitan Fire Brigades Board annual report shows that Sunday mornings between 2am to 4am, and again between 6am to 7am are a rather bad time for fires. Indeed the whole of Sunday has a rather high rate of fires.  The reason that this may be relevant to the electricity industry, is as follows: as far as I am able to determine, the HV feeder voltages are automatically controlled at the zone substations, using technology going back several decades. However there is no feedback in the system to dynamically regulate the LV power line voltages: that voltage depends on the voltage tap setting on the pole transformers, and on the load applied to the LV side. If a lot of domestic customers turn on their fan heaters and electric stoves, then the voltage will drop. If you live close to a transformer, the drop will be small. If you live at the end of the line, the voltage drop may be considerable. However, all customers will experience overvoltage most of the time if the distribution company sets the transformer voltage taps for a "worst case" heavy-load scenario. The time of highest voltage will be when the overall demand in the LV circuits is at its lowest: in the pre-dawn hours when the storage water heaters finish their reheat cycle, and of course most of the time on Sundays. Unfortunately the Fire Investigation Unit of the MFB Board has been unable to supply me with the breakdown by day-of-week and time-of-day for electrical fires, but they have been made aware of my voltage data (and concerns related to it), and may be able to provide the ACCC with some data upon formal request.

With all the Christmas lights presently strung up on volatile, resinous, dehydrating Pinus Radiata in living rooms around the country, I think it is a brave or foolhardy industry that can allow voltages to stabilise so close to the upper limit of acceptable, while we all wait around for the next heatwave to arrive. The problem extends especially also to electrical appliances with a "standby" function, and plugpacks-for-everything (eg modems, walkmans, battery rechargers, answering machines, etc.) many of which do seem to get quite warm under light- or no-load situations, and which seem to be multiplying at a great rate in the gadget-conscious 90's.

Finally on the voltage issue, I return to the relationship power is proportional to voltage-squared. I have demonstrated that my present household electricty voltage is averaging over 250 volts. If I were to ring up my DistCo and ask them to reduce the average voltage by 4%, their potential loss of revenue may approach 8% because of the square relationship. It is clearly in the public's  interest to run our appliances on the lowest practicable voltage. It is worth noting in passing that the radial supply to my house appears to come from the substation in a block of Housing Commission flats (56 Derby Street) at the end of my street: these customers are the people in society least able to afford new lightglobes, and as high-rise residents are rather more vulnerable than the rest of us to domestic fires. It would appear that they may also be the unwitting participants in "loophole gaming". I'm just an unwilling participant in the gaming. Why is it gaming when it is within the industry's own definition of good electricity industry practice? Because we have a nominal 240 volt supply, and it should average 240 volts (over long time intervals) for 90% of customers in any radial or parallel LV circuit. The plus-or-minus 6% voltage figure was never intended to be abused by giving everybody on an LV circuit 254.4 volts all the time and expecting them to put up with it. There is no good reason why the existing system cannot be regulated a little more dynamically on the HV side to shave the voltage peaks off the LV circuits. Also, one suspects that many pole transformer voltage settings have not been changed for years, despite the known drift of consumers from electricity to gas (water heaters, space heaters, cookers): the voltage settings should be regularly reviewed in the field to take account of these trends.

The new voltage standard emerging in Europe is 230 volts (everywhere except the United Kingdom of course!). I will be certainly leafletting all the residents of Kensington on my radial LV line suggesting they demand 230 volts average supply, and who would not want to, knowing the immediate benefits of reduced power bills, increased appliance life expectancy, and reduction in greenhouse gas emissions? I think we will all sleep better at night. By the way 250 to 230 volts is an 8% voltage drop, which translates to a 15.36% drop in power consumption (read revenue).

Now re-read Application-Chapter 5.5.8(e) and see if you agree with the patronising sentiments expressed in it. And they want "light-handed" regulation as well!

Conclusion: As an individual with other pressing commitments, I cannot hope to provide a comprehensive analysis of the Code and application. Just about every area of the Code that I have managed to read and make any sense of, has left me with a deep sense of unease about the ability of the Participants to make any honest undertaking to any Federal or Jurisdictional regulatory body that has real teeth. As the owner of the Breamlea wind generator I have been treated like some kind of disease by everybody except CitiPOWER Pty. If this is the reception to be meted out to prospective participants in the renewable sector (remember the the Breamlea wind generator actually pre-dates the Victorian carve-up), frankly they haven't got a chance, if the situation in the State of Victoria is any indication.

Michael Gunter               mickgg@suburbia.net                        20/12/1996